UVA ENVIRONMENTAL HEALTH AND SAFETY FIRE SAFETY TENT REGULATIONS

- All tents erected on State Property or paid for by UVA funds are to be permitted through the Fire Safety Office of Environmental Health and Safety (EHS) and in accordance with the International Building and Virginia Statewide Fire Prevention Codes.

- All stages erected on State Property are to be permitted through the office of the UVA Building Official and in accordance with the International Building Codes.  Please submit permit request for stages to buildingpermitrequest@virginia.edu.    General stage and other structural information shall also be supplied to the Fire Safety Office when applying for a tent permit.

- All tents and stages not erected on State Property but paid for with UVA Funds must be approved by EHS and the UVA Building Official in order for the funds to be allocated from UVA Procurement.

- All tents must be at least 20 feet from buildings, other tents, or any other structure.  Tents shall not be placed directly under any tree or overhead projection.

- The tent vendor or requesting party is responsible for obtaining permission to use any State Property for an event from the responsible authority and must contact MISS UTILITY (1-800-552-7001) prior to the erection of any temporary structure.  EHS accepts no responsibility for damages to State or Personal Property as a result of said event or structure.

- Tents and temporary structures shall not be permitted for any period exceeding 180 days.

- Tents or membrane structures and their appurtenances shall be adequately roped, braced, and anchored to withstand the elements of weather and prevent against collapsing.  Documentation of structural stability shall be furnished to the fire code official on request.

- Tents  shall not be occupied when local winds are forecast or known to be greater than 40 miles per hour, during thunderstorms, lightening, or when weather conditions of freezing rain or snow is forecast/present.

- Emergency Exits and signage shall comply with all applicable Building and Fire Code regulations.

- Required clear paths for Egress/Exiting shall be maintained.  A minimum of 2 remote handicapped accessible egress/exit paths are required.

- Tents shall be inspected by UVA Fire Safety prior to use.

- A roving Safety/Fire Watch shall be provided during the times the tent is occupied.

UVA ENVIRONMENTAL HEALTH AND SAFETY

FIRE SAFETY TENT REGULATIONS

- All cooking operations must be approved by EHS and must comply with the applicable portions of the International Building Code and Virginia Statewide Fire Prevention Code.

- Cook tents shall be separate from other tents and membrane structures by a minimum of 20 feet.

- Smoking is prohibited in tents, canopies, and membrane structures and No Smoking signs shall be placed in the tent.

- Portable fire extinguishers are required to be mounted in the tent in conspicuous locations.

- The use of open flame and other devices emitting flame, fire or heat including candles are not permitted inside or within 20 feet of the tent or membrane structure.

- Generators shall be placed a minimum of 20 feet away from the tent structure and isolated from contact with the public by fencing, enclosure or other approved means.

- Portable LP gas containers with a capacity of 500 gallons or less shall have a minimum separation between the container and structure not less than 10 feet.  Containers greater than 500 gallons shall have a minimum separation between the container and structure not less than 25 feet.

TENT SUBMITTAL INSTRUCTIONS

Fill out each section of the permit application.  Several sections, such as Permit #, Group, and Type of Construction will be completed by EHS at the time the permit is issued.  Use the bottom section to indicate the use of any stage or dance floor.

Information to include with your application:

- A copy of Tent Material Certificates of Conformance with NFPA 701 for Flame Resistance.

- A diagram or sketch of the exact location of the tent in reference to adjacent buildings, trees, and other structures.  Label all distances.

- A diagram or sketch of the floor plan including any stages, tables, chairs, and the exits from the structure.  These diagrams can be hand drawn.

Tent permit applications are to be submitted at least three weeks before the planned tent setup date.

Applications can be submitted via email to fire-safety@virginia.edu, via Messenger Mail (P.O. Box 400322), or by fax at 434-243-1735. Questions can also be directed to the Fire Safety email address or

by calling 434-982-4914.

| Tent Permit Application (Rev. 7/10) Vers. for 2009 Code* | UNIVERSITY OF VIRGINA TENT PERMIT APPLICATION | Permit #: Issued: Expires: |
| --- | --- | --- |

Type of Temporary Structure:		Tent

Event Name:

Event Date(s):

Temporary Structure Owner:

Contact Name:

Phone:

E-mail:

Temporary Structure Location:

Occupancy Load:

Building Code Edition:*		VUSBC 2009 Edition & Virginia Statewide Fire Prevention Code

Accessibility Standards:		2010 ADA Standards

| Distance to Nearest Building Wall: | Temporary Structure Dimensions: | Temporary Structure Gross Area (sq. ft): |
| --- | --- | --- |
| North: ft. South: ft. East: ft. West: ft. | Length: ft. Width: ft. Height: ft. (at edge of sidewall) | sq. ft. |

| UVA Department: | Responsible User: |
| --- | --- |
| Department Phone: | Phone: |
| Department Fax: | Email: |
| Department Address: |

Data Applicable to Tents

| Type of Tent: | Open Sides | Check items to be used: Tables |
| --- | --- | --- |
|  | with Sidewalls (closed) |  |
| Type of Fabric: | Noncombustible | Chairs |
|  | Conforms to NFPA 701 | Cooking |
| Method of Anchorage: | Propane |
| Temporary Structure Erected by: | Electric |
| Serial Number: | Generators |
| Certificate of Flame Resistance Number: |
| Data Applicable to Other Structures (stages, dance floors, etc.) (*Permit required: Obtain from UVA Building Code Official) Email: buildingpermitrequest@virginia.edu *Stage: *Dance floor: Air Supported Structure: Building Permit Issued: Yes No Yes No Yes No Yes No |

Approved By: ____________________

UVA Fire Safety Officer